- 250 MeV Proton Bean Phase Space Parameters at 42 cm from the isocenter:

- Crossline

  - Spot size(42 cm) = 2.54941 mm

  - Angular divergence(42 cm) = 0.00305443

  - Correlation coefficient(42 cm) = 0.417838

- Inline

  - Spot size(42 cm) = 2.54941 mm

  - Angular divergence(42 cm) = 0.00305443

  - Correlation coefficient(42 cm) = 0.417838

- 250 MeV Proton Bean Phase Space Parameters at the isocenter:

- Crossline

  - Spot size(42 cm) = 3.29824 mm

  - Angular divergence(42 cm) = 0.00305443

  - Correlation coefficient(42 cm) = 0.711927

- Inline

  - Spot size(42 cm) = 3.29824 mm

  - Angular divergence(42 cm) = 0.00305443

  - Correlation coefficient(42 cm) = 0.711927